Policies and Procedures

Commercial Energy Solutions

EasySave Plus Program

New Construction Program

The Tucson Electric Power (TEP) Commercial Energy Solutions programs provide rebates for business customers who upgrade their facility with energy efficient equipment or design and/or build new energy efficient facilities.  TEP has hired DNV GL to implement the TEP Commercial Energy Solutions Programs. This document conveys the rules, policies and procedures that govern program administration and customer participation. It is a companion document to the rebate application forms.  This document was last updated 5/12/16.

Table of Contents

1.	Program Overview	2

1.1	EasySave Plus	2

1.2	New Construction	2

2.	Program Marketing	2

3.	Customer Eligibility	2

4.	Tax Implications	3

5.	Project Requirements	3

5.1	EasySave Plus Program	3

5.2	New Construction Program	3

6.	Rebate Cap	4

6.1	Customer Caps	4

6.2	Measure Rebate Cap	4

7.	Types of Rebates	5

7.1	EasySave Plus Prescriptive Retrofit Rebates	5

7.2	EasySave Plus Custom Rebates	8

7.3	New Construction Program Rebates	8

8.	Effective Program Dates	9

9.	Definition of the Two Application Types	9

10.	How to Apply	10

10.1	Pre- and Post- Inspections	12

10.2	Special Considerations for Custom Rebate and New Construction Applications	12

11.	Payment Process	13

12.	Changes to the Application or Discrepancies after Verification	13

13.	Dispute Resolution	13

14.	Billing Release	14

15.	Definitions	14

16.	Contact Information	15

# Program Overview

This section provides an overview of the various program offerings. The sections that follow provide detailed information on the actual measures and specific program details related to each of the various offerings.

## EasySave Plus

Prescriptive Rebates are available for energy efficiency improvements to existing facilities including lighting equipment and controls, air conditioning and heat pump equipment (HVAC), motors and variable speed drives, refrigeration equipment, power management and sensors.

Custom Rebates are available for energy efficiency improvements not included in the list of qualified prescriptive measures.

## New Construction

New Construction Rebates are available for incorporating energy efficient products/practices in the construction of new facilities.

Lighting Power Density rebates are available for installing energy efficient lighting systems instead of a standard lighting design.

Application forms for these programs are available on the tep.com website. EasySave Plus projects should use a prescriptive or custom retrofit application, as appropriate.  Additionally, there are applications for new construction.

# Program Marketing

Marketing collateral has been developed for the TEP Commercial Energy Solutions programs and is viewable on the website. Trade allies are encouraged to use the marketing materials when promoting the program. Use of the TEP logo or name on trade ally developed materials is not allowed.  If any materials are developed and they include the program name, they must be approved by the TEP Commercial Energy Solutions Team prior to distribution. TEP reserves the right to remove any trade ally and their associated company from the listing if they do not comply with the above policy and procedures.

# Customer Eligibility

The EasySave Plus Program is open to non-residential customers in the TEP service territory. A customer’s rate schedule will determine their initial program eligibility. The energy savings from installed measures must occur on a meter with an eligible rate schedule. The program is available to TEP customers who qualify for TEP's rates GS-10, GS11F (common areas only), GS-76F, LGS-13, LGS-85, LLP-14, LLP-90, PS-41, GS-43 and PS-50.  To be eligible, TEP non-residential customers must replace or repair existing facilities with equipment that is more energy efficient. Energy efficient equipment purchased, contracted for or work conducted prior to July 3, 2008 is not eligible for a rebate.

The New Construction Program is open to all non-residential customers in the TEP service territory.  Rebates are not available for any design work, energy efficiency equipment purchases, or work conducted or contracted for prior to August 6, 2008.

# Tax Implications

Program applicants must abide by all program rules detailed in this document, the application and the agreement form. Applicants are responsible for any tax liability associated with the receipt of rebate payments.

- The Commercial Energy Solutions team may report your rebate as income to you on IRS Form 1099 unless you have indicated “corporation” or “exempt” tax status on the Project/Customer Information Application.

- If the customer signs over the rebate to a third party (e.g., contractor), then the third party will receive Form 1099 and is responsible for any tax liability.

- TEP, UniSource Energy Corporation and DNV GL are not responsible for any taxes that may be imposed on your business as a result of your receipt of this rebate.

# Project Requirements

## EasySave Plus Program

EasySave Plus measures must involve capital improvements or operational upgrades that produce energy savings due to efficiency gains. Savings must be sustainable for a period of five years or the life of the product (whichever is less) and provide the full benefit of the related energy savings to the customer and TEP.

- The applicant must provide documentation establishing proof of payment for the equipment installed and must agree to allow sales transaction and/or equipment installation verification by the utility, DNV GL, or their representative.

- If the customer does not install or removes the product(s) identified, as submitted in their final application, at any time before the end of the life of the product or during the five year period after the receipt of the rebate (whichever is less), the customer shall return a prorated amount of rebate funds to TEP based on the actual period of time in which the customer does not provide the related energy benefits as a customer of TEP.  The program is NOT meant to provide rebates for fuel switching (e.g. from electric to gas), renewables, on-site generation, or electric equipment projects (such as transformer replacements).

- Any materials that are removed as part of a retrofit project must be disposed of properly.

- Projects that are covered under the prescriptive rebates are generally not eligible under custom rebates.  Exceptions may include instances when prescriptive measures are installed as a system with custom measures.  TEP maintains sole discretion in determining when and if to employ custom rebates when prescriptive measures are installed as part of the same project.

- For custom projects, the calculated Societal Cost Test (SCT), as calculated by the TEP Commercial Energy Solutions team, must be greater than 1.0.

## New Construction Program

New Construction measures are treated as custom analyses and must produce energy savings due to efficiency gains over and above ASHRAE Standard 90.1, 2007.  Savings must be sustainable for a period of five years or the life of the product (whichever is less) and provide the full benefit of the related energy savings to the customer and TEP.

- The applicant must provide documentation showing that final invoicing has been submitted and must agree to allow sales transaction and/or equipment installation verification by the utility, DNV GL, or their representative.

- If the customer does not install or removes the product(s) identified, as submitted in their final application, at any time before the end of the life of the product or during the five year period after the receipt of the rebate (whichever is less), the customer shall return a prorated amount of rebate funds to TEP based on the actual period of time in which the customer does not provide the related energy benefits as a customer of TEP.  The program is NOT meant to provide rebates for fuel switching (e.g. from electric to gas), renewables, on-site generation, or electric equipment projects. Note:  all of the rebates are paid on electric equipment projects.

- The calculated Societal Cost Test (SCT), as calculated by the TEP Commercial Energy Solutions team, must be greater than 1.0.

# Rebate Cap

The rebate caps are a maximum rebate amount that the program will pay for a given measure as well as a maximum amount paid to any given customer.

## Customer Caps

The maximum rebate amount that a customer can receive depends on the availability of funds and the number of customers participating in the program.

For the Commercial Energy Solutions Programs, the customer is defined as an individual or entity paying electric bills for one or more locations or accounts. If a customer has multiple locations, program eligibility will be determined by the rate of the location(s) with the highest electrical use. TEP will, at its discretion, determine which calendar year to attribute an application's rebates.  Rebate funds will be attributed to a calendar year based upon availability of rebate funds and project completion date or when the final application is approved for payment.  Provided funds remain available, final applications, with all necessary documentation, must be received by the Commercial Energy Solutions Program by November 15, to guarantee funds will be attributed to that calendar year.

## Measure Rebate Cap

In addition to the customer cap, measures are reviewed such that for each measure, there is a cap on the amount of rebate that will be paid relative to the incremental measure cost. Incremental measure cost is the difference between the cost of installing a high efficiency piece of equipment and the alternative lower cost of installing a standard efficiency piece of equipment. The TEP Commercial Energy Solutions team will use data provided by the customer and typical industry base cost, to determine the incremental measure cost.  In some cases the full measure cost will be used, in other cases only a portion of the full measure cost is appropriate. Direct labor costs incurred by the TEP customer will not be considered as measure costs for each measure.

EasySave Plus Program

- Prescriptive measures have a cap of 75% of the incremental measure cost.

- Custom measures have a cap of 75% of the incremental measure cost.

New Construction Program

- The cap is 50% of the incremental cost up to a maximum of $75,000 per project.

The Arizona Corporation Commission’s Decisions 70403 and 70459 require that TEP consider federal, state, or local tax rebates when calculating rebates.  The incremental cost of the measure will be reduced by these tax rebates prior to applying the 75% or 50% cap.  Since the potential value of tax rebates for businesses will depend on the taxable status of the applicant, as well as tax bracket, value of accelerated depreciation and other business-specific information, TEP cannot accurately assess tax benefits for specific businesses.  TEP therefore requires that each applicant indicate their intent to file for tax rebates, in addition to the value of those tax rebates, in the agreement section of the application.

# Types of Rebates

The TEP Commercial Energy Solutions Programs offers rebates for a full range of energy efficiency measures. This section provides an overview of the type of measures available and specific details of the type of rebates available. The actual measure details including rebate levels and technical specifications are included in full detail on the program applications.

## EasySave Plus Prescriptive Retrofit Rebates

The TEP Commercial Energy Solutions EasySave Plus Program offers prescriptive rebates for energy efficiency improvements in categories including lighting equipment and controls, air conditioning and heat pump equipment (HVAC), service to HVAC equipment, motors and variable speed drives, refrigeration equipment and air compressors All non-residential customers with eligible rate schedules can qualify for these rebates. The following sub-sections summarize the eligible measures in the prescriptive rebate application worksheets. All applicants must review the program application forms for detailed rebate and technical specifications before assuming any measure is covered. Projects replacing inefficient equipment with more efficient equipment must demonstrate that the old equipment has been eliminated from the resale market.

##### Lighting and Controls

The prescriptive lighting and controls component measures are listed below.  The detailed requirements are specified on the application form.

- Replacing T12 lamps and magnetic ballasts with premium efficiency T8 lamps and electronic ballasts

- Replacing T12 or T8 lamps and ballasts with LED lamps

- Delamping must include a fixture modification that results in permanent removal of lamps and/or ballasts  (note that a pre-notification application and pre-inspections are required for delamping projects)

- Retrofitting exit signs with high efficiency exit signs or LED retrofit kit(s)

- Installing hardwired passive infrared or ultrasonic detector occupancy sensors

- Installing continuous or stepped daylighting controls

- Replacing incandescent or high intensity discharge lamps with compact fluorescent lamps (CFLs) or installing hard wired CFL fixtures

- Replacing HID fixtures with T8, T5, induction or LED lamps

- Replacing metal halide lamps with pulse start lamp and ballast

For all lighting measures, replaced PCB ballasts and lamps must be disposed of properly. Disposal documentation may be requested by Program staff.

##### HVAC

The prescriptive cooling component offers rebates for the measures listed below.  Detailed equipment specifications are discussed in the cooling specifications within the program application. Cooling equipment must meet the minimum qualifying Integrated Part Load Value (IPLV), Seasonal Energy Efficiency Ratio or Energy Efficiency Ratio (SEER or EER) and applications must include product specification sheets to confirm the IPLV, SEER or EER and tonnage.

- Energy-efficient water cooled chiller

- Energy-efficient air cooled chillers

- Energy-efficient packaged and split air conditioners - SEER rated

- Energy-efficient packaged and split heat pumps - SEER rated

- Energy-efficient packaged air conditioners - EER rated

- Energy-efficient heat pumps - EER rated

- Packaged terminal air conditioners and heat pumps

- Economizers

- Programmable thermostats (heating setback/cooling setup)

- Hotel room controls

- HVAC EMS systems

- Variable refrigerant flow air conditioners and heat pumps

- Heat pump water heaters

- Shade screens

- Window films

- CO sensors

- CO2 sensors

- Advanced diagnostic tune up

- Duct test and repair

- Economizer repair

For most HVAC equipment, the total rebate is determined from two components: a minimum efficiency equipment rebate and an incremental efficiency rebate.  Both rebates are calculated on a specified rebate amount per ton of cooling installed. In order to qualify for a minimum efficiency equipment rebate, the equipment must meet the minimum qualifying efficiency guidelines for the appropriate equipment size category.  The additional incremental efficiency rebate is added to provide higher rebates for equipment that exceeds the minimum qualifying efficiency for equipment in each category.  Please refer to the HVAC application worksheets for rebate amounts.

##### Motors and Variable Speed Drives for Motors

The prescriptive motors and variable speed drives component includes the measures listed below. The detailed requirements are specified on the application form.

- Energy-Efficient Open Drip-Proof Motors

- Energy Efficient Totally Enclosed Fan-Cooled Motors

- Variable Speed Drives

Rebates are available for three phase motors ranging in size from less than 1 horsepower (HP) to greater than 200 horsepower that meet or exceed the minimum efficiency standard provided in the table in the program application. Motor rebates are calculated using the horsepower of the motor.

Rebates are also available for variable speed or frequency drives (VSD/VFD) installed on motors of 1 HP or larger and are calculated on a specified rebate amount per horsepower of the controlled motor. Note that a new VSD chiller installation would qualify under the cooling chiller rebate instead of this VSD rebate. The TEP Commercial Energy Solutions Team will verify that any VSDs installed under the program are producing energy savings. Detailed product specifications are discussed on the program application.

Refrigeration

The prescriptive refrigeration and air compressors component includes the measures listed below.  The detailed requirements are specified on the application form.

- Anti-sweat heater controls

- Automatic door closers

- High efficiency evaporator fan motors

- High efficiency evaporator fan motors with controls

- High efficiency reach-in refrigerators and freezers

- Strip Curtains

- Efficient compressors

- Efficient condensers

- Floating head pressure controls

- Vending machine controls

- Replacing fluorescent refrigerated and freezer case lighting with LED lamps

Each of these measures provides for more efficient operation or reduced operation of refrigeration units.  Some items reduce heat gain others replace old in-efficient equipment with more efficient equipment and other items reduce operation by removing excess humidity on doors. The specifications and eligibility requirements for each of these measures are covered on the prescriptive application.

Power Management

The prescriptive power management component measures are listed below.  The detailed requirements are specified on the application form.

- Plug load smart strips

- Computer power management

## EasySave Plus Custom Rebates

The Commercial Energy Solutions Program offers customized rebates for energy efficiency improvements that do not fall under the prescriptive offering, but meet the custom application criteria. Custom projects must have isolated and measurable or verifiable energy savings. Projects replacing inefficient equipment with more efficient equipment must demonstrate that the old equipment has been eliminated from the resale market. All custom measures must pass a Societal Cost Test (SCT), as defined and calculated by DNV GL, using energy savings and incremental measure costs provided by the customer.

Detailed equipment specifications and application requirements are listed in the custom application. The application form provides further detail and specific measure criteria, the required support documentation, and the required savings calculation that are required for the applicant to be eligible for a rebate. It is up to the applicant to present a convincing case for how energy savings should be estimated. The Commercial Energy Solutions Team is available to assist in developing energy savings estimates.  Examples of custom measures include but are not limited to:

- Improved automatic controls that are not covered under a prescriptive category

- Building envelope improvements

- Energy industrial process improvements

- Lighting power density reduction

Ineligible projects include, but are not limited to, cool roofs, electrical generation projects including renewables, fuel switching, and customer-owned on-site generation. Measures that are eligible for prescriptive Rebates will NOT be allowed or included on a custom rebate application.

Custom rebates are calculated using $0.10 per estimated first year kilowatt hour saved. Actual rebate payments are based on either (1) documented electrical energy (kWh) reduction or (2) an electrical energy reduction estimate approved by DNV GL. Under no circumstances will the rebate payment exceed 75% of the energy-efficiency-related project costs, which are defined as the incremental costs associated with implementing the energy-saving measures.

## New Construction Program Rebates

Rebates are available to offset up to 50% of the incremental costs of incorporating energy efficient products/practices in a new construction project, up to a maximum of $75,000 per project per year.  Rebate amounts are determined from annual energy savings and are paid at a rate of $0.10 kWh.  Energy savings are determined by comparing the energy usage for a baseline ASHRAE Standard 90.1, 2010 design with a design incorporating energy efficient alternatives using a building energy simulation program such as DOE – 2 or equivalent.

Detailed equipment specifications and application requirements are listed in the new construction application. The application form provides further detail and specific measure criteria, the required support documentation, and the required savings calculation that are required for the applicant to be eligible for a rebate. It is up to the applicant to present a convincing case for how energy savings should be estimated. The Commercial Energy Solutions Team is available to assist in developing energy savings estimates.

Ineligible projects include, but are not limited to: cool roofs, electrical generation projects including renewables, fuel switching, and customer-owned on-site generation.

# Effective Program Dates

The Commercial Energy Solutions Programs are offered on a first-come, first-served basis.  Funding status can be checked by calling the Commercial Energy Solutions phone line at 866-324-5506 or email at ces@tep.com.

- Final applications should be submitted within 60 days of project completion.

- Applications will only be accepted for work initiated after July 3, 2008 for the EasySave Plus program and August 6, 2008 for the design assistance and new construction programs.  These dates are the effective program dates.  Expenses for energy efficiency projects contracted for or incurred prior to July 3, 2008 (EasySave Plus) or August 6, 2008 (design assistance and new construction), the effective program dates, are not eligible for program funding.

- Rebates are available until funds are exhausted. All applications will be reviewed against the program rules in place at the time the application is submitted.

- Final applications should be submitted by November 15, to be paid in the same calendar year.

# Definition of the Two Application Types

A single application form is utilized for both phases of the application process: pre-notification application and final application. While identical forms are used for both, there are two separate tabs on the Customer/Project Information form that indicate the specific phase.

Pre-Notification Application

Pre-notification and pre-inspection are required for delamping projects.  For other projects, a pre-notification application is strongly encouraged to reserve funding for all projects. Forgoing the pre-notification step may result in a reduced rebate amount during the final application stage.

For custom projects and new construction projects, the pre-notification process is important for providing a preliminary energy savings methodology, to help identify potential rebates, and insure that the proposed approach is acceptable to the TEP Commercial Energy Solutions team. Customers who do not submit a pre-notification application for custom measures or new construction measures agree to abide by TEP and DNV GL’s determination of project energy baselines, which will be based upon conservative estimates. In cases where a baseline cannot be estimated due to insufficient data, the measure may be disqualified and receive no rebates.

The TEP Commercial Energy Solutions Team will review the pre-notification application and will work with the customer (or their designee) to reserve funds in a timely manner.

- For prescriptive measures, the application must include sufficient information to estimate the rebate amount. This will likely include measure quantities, equipment efficiencies, and other specific project details.

- For custom measures and new construction measures, the pre-notification application must include sufficient descriptive project information, equipment performance data, operating schedules, load profiles and/or other information to support the energy savings estimates.

Final Application

The final application is the official request for rebate payment. Final applications must be submitted within 60 days after project completion. The project completion date shall be determined by the date the energy-efficient equipment becomes operational. Applications submitted after sixty (60) days will be deemed ineligible for payment. Final applications should be submitted by November 15 to be paid in the same calendar year. All applications will be reviewed against the program rules in place at the time the application is submitted.

Final applications must include all project documentation that is specified on the final application form, including copies of all itemized, paid invoices and receipts as well as equipment specifications and technical details where mandated.

The TEP Commercial Energy Solutions team reserves the right to request additional supporting documentation with the final application as deemed necessary to ensure measure eligibility and verify that the expected energy savings will occur. Additional documentation may include, but is not limited to: equipment purchase dates, installation dates, proof that the equipment is operational, manufacturer specifications, warranty information, proof of customer co-payment, or commissioning reports. All projects that request and/or receive rebate funding may require on-site inspections and/or equipment monitoring to verify energy savings before determining the final rebate payment.

The final application also provides the customer with the opportunity to designate a third party as the recipient to receive the final rebate payment. The customer must sign the final application in the appropriate places and initial the agreement in the appropriate place before the rebate will be paid to a third party.

# How to Apply

Two separate applications forms (Customer/Project Information application and measure worksheet) are utilized for both phases of the application process: pre-notification phase and final application phase. Applicants complete the appropriate tab of the customer/project information application to indicate whether it is a pre- or final application. Measure worksheet(s) are then completed with information on the scope of the project.  Program staff is available during normal business hours to facilitate the application process.

The pre-notification application reserves rebate funds in advance of project installation. While strongly recommended for all projects, a pre-notification application is REQUIRED for all delamping projects.  The final application is the official request for rebate payment. Final applications should be submitted by November 15 to be paid in the same calendar year.

Step 1: Submit a Pre-Notification Application

Download the Customer/Project information application and the appropriate measure worksheet from the website.  Complete the “pre-notification” tab of the Customer/Project information application and fill in the scope of the project on the measure worksheet(s). Submit both forms via email or postal service to:

TEP Commercial Energy Solutions

88 E Broadway Blvd

Mail Stop HQW505

PO Box 711

Tucson, AZ 85702

Email: 	ces@tep.com

Businesses with multiple locations in TEP service territory may submit one application for all locations or may send applications for different projects at different times.  If a project includes multiple sites, please attach a list of all site addresses and appropriate contact information.  Please note that an application will not be paid until all work on the application has been completed.

Multiple copies of the measure worksheets may be submitted if additional space is needed. Please indicate whether additional pages are included when you send in your completed application.

The Commercial Energy Solutions team will review pre-notification applications for eligibility and completeness of customer information in the order received. When the application review is complete, the team will alert the applicant by letter of the amount of rebates reserved and the reservation expiration date.  Rebate funds will be secured for 120 days.

- Funds will not be reserved for the project until the team receives a complete application 	package.

- While the team will notify the applicant of any information deficiencies, the applicant will lose its place in line in the review process until all requested information is received.

The customer may request, subject to approval by the Commercial Energy Solutions team, that the funding be reserved for more than 120 days if the project schedule is expected to extend more than four months. The team may contact the customer periodically to ensure that the project is moving forward and may cancel the commitment based on the customer’s response.  Reserved funds are not transferable to other projects, facilities, and/or customers. It is the customer’s responsibility to contact program staff if a project is delayed, substantially changed, or cancelled.

Step 2: Install Equipment or Perform Project Work

The customer or contractor installs the equipment or performs other project work according to the specifications described for the eligible measures or completes the design drawings. Detailed specifications are listed on the application form.

Step 3: Submit Final Application

Within 60 days of project completion, the applicant submits a final application with all required supporting documentation.

The information required for each measure is detailed on the application worksheets. Documentation should include final invoices detailing the specific equipment and purchases, the services provided, and other costs.  The costs must be itemized so that they can be matched up with the quantities listed on the application. The location or business name on the invoice must be consistent with the application information. For cooling and heat pump measures, the customer must document the sizing calculation used to select the equipment.

The project invoice must provide sufficient detail for the Commercial Energy Solutions team to separate the costs of the energy efficiency measures from the costs for other services such as repairs and building code compliance. In cases where the contractor will receive the rebate payment directly, the submitted invoices must include the full cost of the measures, not just the portion of the project cost that the utility customer will pay.  Customer internal labor is not reimbursable.

The customer can designate a third party as the recipient for the final rebate payment. The customer must sign the final application and initial the agreement in the appropriate places. The third party must also sign the agreement before the rebate will be paid to the third party.

Step 4: Final Application Review

The Commercial Energy Solutions team will review all applications and final project documentation in the order received.  The team reserves the right to request additional supporting documentation as deemed necessary to ensure measure eligibility and verify that the expected energy savings will occur.

Additional documentation may include, but is not limited to: equipment purchase dates, installation dates, proof that the equipment is operational, manufacturer specifications, warranty information, proof of customer co-payment, or commissioning reports. All projects that request and/or receive rebate funding may require on-site inspections and/or equipment monitoring to verify energy savings before determining the final rebate payment. Funds will not be authorized for payment until the team receives a completed application package and determines that the project has met the program eligibility requirements. Applicants who submit incomplete applications will be notified of deficiencies, but will lose their place in line in the review process until all requested information is received. Rebates will be paid within 6 weeks of approval of the final application.

## Pre- and Post- Inspections

The TEP Commercial Energy Solutions team reserves the right to inspect and monitor all projects to verify compliance with the program rules, verify the accuracy of project documentation, and verify equipment and system performance. This may include pre-installation and/or post-installation inspections, detailed lighting layout descriptions, metering, data collection, interviews, and utility bill data analyses. Recipients of the rebate payment must allow access to records and installation sites for a period of five years after receipt of rebate payment.

## Special Considerations for Custom Rebate and New Construction Applications

For custom and new construction rebate requests, customers must document the estimated energy (kWh) savings, demand (kW) savings and costs as defined above.  The calculations and assumptions supporting the kWh impact estimates and the resulting rebate amount are subject to TEP Commercial Energy Solutions team review and approval (including an SCT analysis). The TEP Commercial Energy Solutions team will work with customers or their installation contractor or consultant to develop a methodology and to identify the information necessary to support the savings estimate and to verify the savings after installation. However, the customer is required to provide project documentation to support this analysis.

# Payment Process

The TEP Commercial Energy Solutions Program rebates will be paid directly to customers. Alternatively, the customer may designate a third-party, such as a contractor or corporate office, to receive the rebate check by filling out the bottom portion of application’s applicant information page. The customer must indicate the exact name of the designated payee and the appropriate tax identification number.  Payments will not be made until the proper project documentation is submitted to, and reviewed by, the TEP Commercial Energy Solutions team. All final applications must be fully completed with final documentation. Final applications also require the signature of the customer and, if applicable, the designated third party recipient of the rebate.

In order to verify that the work is complete, final invoices submitted for documentation purposes must be itemized with the costs for equipment, labor, supplies, and other costs. The location or business name on the invoice must be consistent with the application information. Only expenses incurred during the term of the program can be reimbursed. Applicants may be asked to provide more detailed information on the equipment location to aid in the pre- and post-inspection process. Power or other operating measurements or monitoring may be required for verification of calculated energy savings prior to approval of rebate payments.

# Changes to the Application or Discrepancies after Verification

If the project scope has changed or final application funding request differs from the pre-notification application reserved funding amount, the project will be reviewed in light of funding availability. If the funding requested is higher than the funding initially reserved, any reserved funding that is associated with an approved portion of the project will be paid. The additional portion will be reviewed by the TEP Commercial Energy Solutions team. If the additional portion is approved and rebate funding is still available, the additional rebate amount will be added to the project total. If there is no rebate funding available or the applicant has otherwise met project caps, the excess rebate requested (or a portion thereof) will be denied. If the final application amount is a decrease from the reserved funding, the approved project will be paid at the lower amount.

If there are discrepancies between the final application and the TEP Commercial Energy Solutions team on-site verification and/or analysis, the customer will receive a letter detailing these differences. This letter provides an opportunity for the customer (or contractor) to dispute the inspection results before the final decision is made. If the TEP Commercial Energy Solutions team has not been notified of a dispute, the revised rebate levels will be confirmed, and the check issued.

# Dispute Resolution

The TEP Commercial Energy Solutions Team will take every possible step to ensure a high level of satisfaction with all aspects of the program. However, if any problems or concerns should arise, we encourage you to contact the TEP Commercial Energy Solutions team immediately at 1-866-324-5506.

# Billing Release

The TEP Commercial Energy Solutions team keeps all customer information in confidence, unless given permission by the customer. Third parties must acquire written authorization from the customer they are representing to receive billing data from TEP or from the TEP Commercial Energy Solutions team. The minimum components must be included in the written authorization provided by the customer to release their information to a third party:

- Customer name of record for each customer account

- Customer premise number for each property to be released

- Contact name for each customer account

- Contact information for each customer account (include: phone number and email address)

- Address for each account number

- Meter number

- Signature of customer of record

- Title of customer of record

- Identification of third party to receive the information (company name, title of person, and address)

# Definitions

Customer: For the Commercial Energy Solutions Programs, the customer is defined as an individual or entity paying electric bills for one or more locations or accounts.  For very large multi-function customers such as governments or universities, a customer is also defined as the decision maker at an organization or firm that receives electric service from TEP on an approved retail rate schedule. Frequently, this is determined by tax identification number, although other factors may also be considered.  If a customer has multiple locations, program eligibility will be determined by the rate of the location(s) with the highest electrical use.

Custom Rebate:  Custom refers to rebates that are tied to energy savings for a specific project that do not fit under the prescriptive rebate measures. An energy savings analysis is required to receive a custom rebate.

Energy Efficiency Ratio or Seasonal Energy Efficiency Ratio (EER/SEER):  The EER/SEER is a rating used to measure air conditioning (heat pump) efficiency in Btuh per Watt. The rating is typically measured when outside air temperature is 95oF. The higher the rating is, the more efficient the equipment is.

Integrated Energy Efficiency Ratio (IEER): The IEER is a rating for commercial HVAC equipment.  It is used to represent part load efficiency performance for comparing the energy consumption of similar systems.  The higher the rating is, the more efficient the equipment is.

Final Application: Once the project has been completed, the customer is to submit a copy of the final application tab of the Project/Customer Information Application and appropriate measure worksheet(s).  If a pre-notification application was submitted, the final application should include any new or corrected information.  The final application must include an original signature and all appropriate backup documentation, including detailed invoices.

Incremental Cost: Incremental measure cost is the difference between the cost of installing a high efficiency piece of equipment and the alternative lower cost of installing a standard efficient piece of equipment. The TEP Commercial Energy Solutions team will use data provided by the customer and typical industry base cost to determine the incremental measure cost. In some cases the full measure cost will be used, in other cases only a portion of the full measure cost is appropriate. Direct labor costs incurred by the TEP customer will not be considered as measure costs for each measure. Please contact the TEP Commercial Energy Solutions team for clarification or assistance in determining the right value.

New Construction Rebate:  New Construction refers to rebates that are tied to energy savings for a new building or addition. An energy savings analysis is required to receive a rebate.

Pre-Notification: Pre-notification is the application process of informing the TEP Commercial Energy Solutions team of your project plans for pre-approval based on customer eligibility and project requirements.

Prescriptive Rebate: Prescriptive refers to rebates that are tied to a unit of measure other than energy savings. These measures are pre-determined and do not require any technical analysis to qualify for a rebate.

Rebate:  The rebate is the amount to be paid to the customer or contractor once the energy efficiency measure(s) have been installed and final project documentation has been approved. Rebate levels are determined based on the project specifications and can be found by measure or type on the program application forms.

Societal Cost Test (SCT): The SCT is a metric used by the program to assess the cost-effectiveness of proposed energy efficiency expenditure from a societal perspective. The SCT is a benefit-cost test which measures the net costs of a proposed energy efficiency expenditure based on the total costs, including both the participant’s (e.g. cost of equipment and installation) and the utility's costs (e.g. non-rebate costs). The benefits for the SCT are avoided supply costs. The TEP Commercial Energy Solutions Programs require that all measures that receive a custom or new construction rebate are verified to have a SCT that is greater than 1. The TEP Commercial Energy Solutions team will calculate the SCT for a proposed project using energy savings and cost information provided by the customer.

# Contact Information

TEP Commercial Energy Solutions

88 E Broadway Blvd

Mail Stop HQW505

PO Box 711

Tucson, AZ 85702

Fax:	1-866-277-5604

Email:  ces@tep.com

For projects where a T12 to T8/T5 conversion occurs in conjunction with delamping, the new T8/T5 lamps will receive the T12 to T8/T5 rebate level per new lamp installed and the number of lamps de-lamped will receive the delamping rebate on a per lamp de-lamped basis.  The equipment for the T12 T8/T5 retrofit rebates must be in place for a minimum of 5 years. If there are any additional modifications, such as delamping done in the future, a prorated portion of the T8/T5 Rebate must be returned to TEP.